Wellcome Trust Sanger Institute list of equipment used for measuring Auditory Brainstem Responses:

Tucker Davis Technologies (www.tdt.com)

- RP2.1 - Enhanced Real Time Processor (x2)

- RA16 - Medusa Base Station

- PA5 - Programmable Attenuator

- MA3 - Stereo Microphone Amplifier

- SA1 – Stereo Power Amplifier

- HB7 - Headphone Buffer (Optional)

- MS2 - Monitor Speaker (Optional)

- ZB1PS - ZBus device caddy with Power Supply (x3) (x4 if using optional HB7 & MS2)

- FO5 - PO5-ZBus Optical Interface Module (x2) (or current equivalent)

- PO5 - PCI interface Card (or current equivalent)

- RA4PA – 4 channel Medusa Preamplifier

- RA4LI – 4 channel low impedance headstage

- ACO Pacific Type 1 calibration microphone (or current equivalent)

- FF1 – Magnetic Speaker (or current equivalent)

- TDT Drivers / RPVdsEx – software (free)

- TDT ActiveX Controls – software

Steema Software

TeeChart v7 ActiveX – graphing software controls  (www.steema.com/teechart/ax)

Grass Telefactor – Astro-Med Inc

- F-E3-48  (112-812-48TP Disposable Low Profile EEG Needle Electrodes, Chalgren Enterprises Inc)

Harvard Apparatus (www.harvardapparatus.com)

- Homeothermic Blanket and Controller

Industrial Acoustics Company (IAC Ltd)

- Mini Acoustic Chamber (MAC-2) – or current equivalent

Miscellaneous

(essential)

- Personal Computer - with a 2.2 compliant PCI slot

- Various cables – BNC connectors, etc.

(optional)

- Digital oscilloscope (for viewing electrode signal)

- Mounting Frame for zBus caddies (eg …. http://www.blackbox.co.uk/products/display.asp?id=0&doc=rmu032-02&tx=4&sx=2)

Bruel & Kjaer (www.bksv.com)

- Type 3560-C, with Type 3110 IO Module and Type 7536 Controller Module

- Type 4231 – Sound Calibrator

- Type 2670 – ¼ Inch Mic Preamplifier

- Type 4938 – ¼ inch Microphone

- PULSE Software

Wellcome Trust Sanger Institute (www.sanger.ac.uk)

- ABR recording software

- Traceview – analysis software

MIT

- ABR Peak Analysis Software – written by Brad Buran – courtesy of M.C. Liberman